## database links
item | number or link
| all modes | low resolution imaging | high resolution imaging | high contrast imaging | time resolved imaging | spectroscopy | pupil imaging
telescope throughput | 80%
MAORY throughput | 80%
entrance window throughput | 2 glass optics
focal plane mask format (& throughput) |  | link to a file | link to a file | link to a file | link to a file | link to a file | link to a file
collimator + fold mirrors throughput | 5 mirrors
filter throughput (2 wheels, lists also combinations) | link to a file
ADC throughput | 4 glass prisms
zoom optics & main mechanism optics throughput |  | 2 mirrors | 4 mirrors | 4 mirrors | 2 mirrors | link to a file | 2 mirrors + 2 glass optics
pupil mask format & throughput as function of field angle | link to a file
camera + fold mirror throughput | 4 mirrors
detector QE | 90%
detector modes (read noise) |  | slow | slow | fast & slow | fast & slow | slow | slow
MICADO image quality (strehl as function of field angle) |  | link to a file | link to a file | link to a file | link to a file
MICADO distortion at focal plane |  | link to a file | link to a file | link to a file | link to a file
spectral distortion | [5 empty] | link to a file
single mirror transmission | link to a file
pixel scale |  | 4mas | 1.5mas | 1.5mas | 4mas | 4mas | TBD
MCA lamp brightness (how to specify, ph/pix at focal plane?) |  | link to a file | link to a file | link to a file